**LIST OF SAMPLES FOUND UNSAFE IN THE MONTH OF JANUARY -2022**

**DRINKING WATER**

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **SL NO** | **NAME OF THE PRODUCT** | **BRAND NAME** | **BATCH NO.** | **TEST CONDUCTED** | **CONTAMINANTS****PRESENT** | **RESULT****(mg/kg)** | **PRESCRIBED****LIMIT(mg/kg)** | **PERCENTAGE****INCREASE** |
| 1. | Packaged drinking water | Aiwa Packaged drinking water | 188 | FSSAI Lab manual for metals method no.5 | Silver | Silver0.28 mg/kg | Not more than0.01 mg/kg | 2700 |